## T, P BMP388 by register
Calculation of pressure and temperature for BMP390 by register
Sample trimming values |  | Sample measurement values
Register Address | Value (Hex) | Register Address | Value (Hex)
0x31 | 13 | 0x04 | C0
0x32 | 6D | 0x05 | D4
0x33 | 08 | 0x06 | 6B
0x34 | 4B | 0x07 | 00
0x35 | F9 | 0x08 | 8C
|  | 0x09 | 83
0x36 | 4F
0x37 | 1B
0x38 | 64
0x39 | 15
0x3A | 06
0x3B | 01
0x3C | 73
0x3D | 4B
0x3E | F0
0x3F | 5B
0x40 | 03
0x41 | FA
0x42 | B9
0x43 | 0E
0x44 | 06
0x45 | F5
Sample trimming values
Register Address (LSB/MSB) | Name | Value | Quantization Factor | Quantized | Type
0x31 / 0x32 | NVM_PAR_T1 | 27923 | 0.0039062 | 7148288 | U16
0x33 / 0x34 | NVM_PAR_T2 | 19208 | 1073741824 | 1.7889e-05 | U16
0x35 | NVM_PAR_T3 | -7 | 281474976710656 | -2.4869e-14 | S8
0x36 / 0x37 | NVM_PAR_P1 | 6991 | 1048576 | -0.0089579 | S16
0x38 / 0x39 | NVM_PAR_P2 | 5476 | 536870912 | -2.0318e-05 | S16
0x3A | NVM_PAR_P3 | 6 | 4294967296 | 1.397e-09 | S8
0x3B | NVM_PAR_P4 | 1 | 137438953472 | 7.276e-12 | S8
0x3C / 0x3D | NVM_PAR_P5 | 19315 | 0.125 | 154520 | U16
0x3E / 0x3F | NVM_PAR_P6 | 23536 | 64 | 367.75 | U16
0x40 | NVM_PAR_P7 | 3 | 256 | 0.011719 | S8
0x41 | NVM_PAR_P8 | -6 | 32768 | -0.00018311 | S8
0x42 / 0x43 | NVM_PAR_P9 | 3769 | 281474976710656 | 1.339e-11 | S16
0x44 | NVM_PAR_P10 | 6 | 281474976710656 | 2.1316e-14 | S8
0x45 | NVM_PAR_P11 | -11 | 3.6893e+19 | -2.9816e-19 | S8
Sample measurement values
Register Address (XLSB / LSB / MSB) | Name | Value | Type
0x07 / 0x08 / 0x09 | UT | 8621056 | U24
0x04 / 0x05 / 0x06 | UP | 7066816 | U24
|  | calculated |  | Read
| Temp | 26.2922 | [°C] | 26.2922 | [°C]
| p | 97714.305 | [Pa] | 977.1431 | [hPa]

## T, P BMP388 by value
Calculation of pressure and temperature for BMP388 by value
Sample trimming values
Register Address (LSB/MSB) | Name | Value | Quantization Factor | Quantized | Type
0x31 / 0x32 | NVM_PAR_T1 | 27669 | 0.0039062 | 7083264 | U16
0x33 / 0x34 | NVM_PAR_T2 | 19023 | 1073741824 | 1.7717e-05 | U16
0x35 | NVM_PAR_T3 | -10 | 281474976710656 | -3.5527e-14 | S8
0x36 / 0x37 | NVM_PAR_P1 | 453 | 1048576 | -0.015193 | S16
0x38 / 0x39 | NVM_PAR_P2 | -2473 | 536870912 | -3.5124e-05 | S16
0x3A | NVM_PAR_P3 | 25 | 4294967296 | 5.8208e-09 | S8
0x3B | NVM_PAR_P4 | 0 | 137438953472 | 0 | S8
0x3C / 0x3D | NVM_PAR_P5 | 25070 | 0.125 | 200560 | U16
0x3E / 0x3F | NVM_PAR_P6 | 30875 | 64 | 482.4219 | U16
0x40 | NVM_PAR_P7 | -4 | 256 | -0.015625 | S8
0x41 | NVM_PAR_P8 | -10 | 32768 | -0.00030518 | S8
0x42 / 0x43 | NVM_PAR_P9 | 16665 | 281474976710656 | 5.9206e-11 | S16
0x44 | NVM_PAR_P10 | 27 | 281474976710656 | 9.5923e-14 | S8
0x45 | NVM_PAR_P11 | -60 | 3.6893e+19 | -1.6263e-18 | S8
Sample measurement values
Register Address (XLSB / LSB / MSB) | Name | Value | Type
0x07 / 0x08 / 0x09 | UT | 8479232 | U24
0x04 / 0x05 / 0x06 | UP | 7080576 | U24
|  | calculated |  | Read
| Temp | 24.6625 | [°C] | 24.6625 | [°C]
| p | 101269.6888 | [Pa] | 1012.6969 | [hPa]