- I/O engineer add 8 drives （Moon’s）。

- The same PDO

- Device online and download, all motor data is ok.

Ethercatmaster  no error

- plc engineer add “SoftMotion COE Axis”

5 .Plc program  login, no error.

6. About 2 minutes later

About 1 minutes later

I/O Engineer

Web status ,slaves(random) state OP-Init-OP

When the core is running,   the EtherCat Master is lost.

This error appears 2-3 times.

The control  from “Operation mode” to “Service mode”

Select   ,

and then select “EtherCat  Master”

Select “Refresh ”

Power off and on , the system is ok.

Please check the system report and backup file.