## Slide 1
Configuration in ctrlX Core for OPC UA server

## Slide 2
Version of WinCC RT Professional is 16.0.0

## Slide 3
Configuration of OPC UA client in TIA Portal

## Slide 4
The OPC UA connection was successful

## Slide 5
The OPC UA connection was successful

## Slide 6
The certificate from WinCC is received by ctrlX Core and we set it to “Trust”

## Slide 7
In TIA portal, we can find that the datalayer is scanned and found properly.

## Slide 8
2 variables were added in WinCC in TIA portal

## Slide 9
We have made a simple test with HMI and downloaded to file system

## Slide 10
In activated HMI, the variables were not showed correctly.
The read and write for those variables was also not working.