## Check OpcUa items

PLC variables are repeatedly added, deleted, and changed during program development. This can easily lead to inconsistencies between the HMI and PLC.

This function can be used to check the following:

- Do all OpcUA items exist?

- Has the data type of an item changed?

To start the test, execute the following steps:

- If not logged in, enter name (1) and password (2) of a WebIQ administrator.
(e.g., the user that is used when logging into the WebIQ Designer) and 
press Reload (3) button

- Select OpcUA connection (4)

- Press button (5)

- Wait until the check is finished

- Fix problems